{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["改后正确"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"改后正确","index":0,"n_rows":303,"n_cols":9,"rows_kept":303,"merged":[[0,1,0,8],[1,4,1,5],[302,1,302,2]],"flags":["formulas_cached_only"]}
[null,"电缆电线产品质量国家监督抽查产品及其企业名单"]
["序号","企业名称","产品名称","商标","规格型号",null,"生产日期（批号）","抽查结果","主要不合格项目"]
[1,"北京市京电伟业兴电缆厂","一般用途单芯硬导体无护套电缆","伟业兴","1×2.5","227 IEC 01(BV) 450/750V","2009-04-14","合格"]
[2,"北京正力电线电缆有限公司","一般用途单芯硬导体无护套电缆","正力","1×2.5","227 IEC 01(BV) 450/750V","2009-04-13","合格"]
[3,"北京市万源电线厂","一般用途单芯硬导体无护套电缆","WAN YUAN","1×2.5","227 IEC 01(BV) 450/750V","2009-03-20","合格"]
[4,"北京泰普特线缆有限公司","一般用途单芯硬导体无护套电缆","凯普特","1×4","227 IEC 01(BV) 450/750V","2009-04-14","合格"]
[5,"北京市协昌电线电缆厂","一般用途单芯硬导体无护套电缆","XIE CHANG","1×2.5","227 IEC 01(BV) 450/750V","2009-04-10","合格"]
[6,"北京市国运电线电缆有限责任公司","一般用途单芯硬导体无护套电缆","国运","1×2.5","227 IEC 01(BV) 450/750V","2009-02-13","合格"]
[7,"北京鑫朝龙线缆制造有限公司","一般用途单芯硬导体无护套电缆","朝阳","1×2.5","227 IEC 01(BV) 450/750V","2009-03-31","合格"]
[8,"北京迪昌电线电缆厂","一般用途单芯硬导体无护套电缆","迪昌","1×2.5","227 IEC 01(BV) 450/750V","2009-04-10","合格"]
[9,"北京市威苏利电缆有限公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-04-01","合格"]
[10,"北京四海通线缆有限公司","一般用途单芯硬导体无护套电缆","松帆","1×1.5","227 IEC 01(BV) 450/750V","2009-03-02","合格"]
[11,"北京天宇昆仑线缆有限公司","一般用途单芯硬导体无护套电缆","兴宇 ","1×2.5","227 IEC 01(BV) 450/750V","2009-04-15","合格"]
[12,"北京昆标电线电缆有限公司","一般用途单芯硬导体无护套电缆","昆标","1×2.5","227 IEC 01(BV) 450/750V","2009-04-05","合格"]
[13,"天津市瑞达电线电缆厂","一般用途单芯硬导体无护套电缆","贯通","1×2.5","227 IEC 01(BV) 450/750V","2009-02-11","合格"]
[14,"天津市恩成线缆有限公司","铜芯聚氯乙烯绝缘聚氯乙烯护套扁形电缆","ENCHENG 米","2×1.5","BVVB 300/500V","2009-03-15","合格"]
[15,"天津市万博线缆有限公司","铜芯聚氯乙烯绝缘屏蔽聚氯乙烯护套软电缆",null,"3×1.5","RVVP 300/300V","2008-07-02","合格"]
[16,"天津塑力线缆集团有限公司","普通聚氯乙烯护套软线","讯捷","3×1.5","227 IEC 53(RVV) 300/500V","2009-03-28\n/090328013","合格"]
[17,"天津市银山线缆有限责任公司","一般用途单芯硬导体无护套电缆","博安","1×2.5","227 IEC 01(BV) 450/750V","2008-09-18","合格"]
[18,"天津三佳线缆有限公司","一般用途单芯硬导体无护套电缆","名佳","1×2.5","227 IEC 01(BV) 450/750V","2008-11-01","合格"]
[19,"天津安琪尔普睿司曼电缆有限公司","轻型聚氯乙烯护套软线","安琪尔","3×0.75","227 IEC 52(RVV) 300/300V","2008-09-23","合格"]
[20,"天津市飞亚电线电缆有限公司","铜芯聚氯乙烯绝缘软电缆","凤达","1×2.5","BVR 450/750V","2009-03-19","合格"]
[21,"天津市津成电线电缆有限公司","铜芯聚氯乙烯绝缘聚氯乙烯护套扁形电缆","JINCH","2×2.5","BVVB 300/500V","2009-03-20","合格"]
[22,"天津友惠电线电缆有限公司","一般用途单芯硬导体无护套电缆","天讯","1×2.5","227 IEC 01(BV) 450/750V","2009-04-08","合格"]
[23,"天津市亚通电线电缆厂","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-04-05","合格"]
[24,"天津市天缆小猫集团有限公司","一般用途单芯硬导体无护套电缆","小猫","1×6","227 IEC 01(BV) 450/750V","2009-03-13","合格"]
[25,"天津市津瓯电线电缆有限公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-04-02","合格"]
[26,"天津市海燕电线电缆制造有限公司","一般用途单芯硬导体无护套电缆","海燕牌","1×2.5","227 IEC 01(BV) 450/750V","2009-04-22","合格"]
[27,"河北昌盛益达线缆有限公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-02-15","合格"]
[28,"廊坊津峰线缆有限公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-03-06","合格"]
[29,"廊坊沈凯线缆有限公司","一般用途单芯硬导体无护套电缆","沈凯","1×1.5","227 IEC 01(BV) 450/750V","2009-03-08","合格"]
[30,"廊坊耀华线缆有限公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-04-01","合格"]
[31,"廊坊沈海线缆有限公司","铜芯聚氯乙烯绝缘软电缆",null,"1×2.5","BVR 450/750V","2009-04-13","合格"]
[32,"廊坊沈新电线电缆有限公司","一般用途单芯硬导体无护套电缆","沈微","1×2.5","227 IEC 01(BV) 450/750V","2009-03-22","合格"]
[33,"北京昌源伟业电线电缆有限公司霸州分公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-03-03","合格"]
[34,"北京利德盛线缆有限公司霸州分公司","一般用途单芯硬导体无护套电缆","金阜","1×2.5","227 IEC 01(BV) 450/750V","2009-03-16","合格"]
[35,"廊坊忠诚电缆有限公司","一般用途单芯硬导体无护套电缆","东淀","1×2.5","227 IEC 01(BV) 450/750V","2009-03-16","合格"]
[36,"霸州市沈华电线电缆有限公司","一般用途单芯硬导体无护套电缆","沈华","1×2.5","227 IEC 01(BV) 450/750V","2008-12-23","合格"]
[37,"廊坊宇通线缆有限公司","一般用途单芯硬导体无护套电缆","信光","1×2.5","227 IEC 01(BV) 450/750V","2009-04-01","合格"]
[38,"北京市海升伟业线缆有限公司霸州分公司","一般用途单芯硬导体无护套电缆","海升","1×2.5","227 IEC 01(BV) 450/750V","2009-03-11","合格"]
[39,"北京市天华伟业线缆有限公司霸州分公司","一般用途单芯硬导体无护套电缆","天华","1×2.5","227 IEC 01(BV) 450/750V","2009-03-17","合格"]
[40,"华洋线缆集团有限公司","一般用途单芯硬导体无护套电缆","华晔","1×2.5","227 IEC 01(BV) 450/750V","2009-04-17","合格"]
[41,"霸州市沈鹰电线电缆厂","一般用途单芯硬导体无护套电缆","沈鹰","1×2.5","227 IEC 01(BV) 450/750V","2009-03-14","合格"]
[42,"天环线缆集团有限公司","一般用途单芯硬导体无护套电缆","宙友","1×2.5","227 IEC 01(BV) 450/750V","2009-04-18","合格"]
[43,"河北富华线缆有限公司","一般用途单芯硬导体无护套电缆","世腾","1×2.5","227 IEC 01(BV) 450/750V","2009-02-01","合格"]
[44,"河北万方线缆集团有限公司","一般用途单芯硬导体无护套电缆","万方","1×2.5","227 IEC 01(BV) 450/750V","2009-04-01","合格"]
[45,"河北弘泰线缆有限公司","一般用途单芯硬导体无护套电缆","一枝秀","1×1.5","227 IEC 01(BV) 450/750V","2009-04-19","合格"]
[46,"远洋线缆有限公司","一般用途单芯硬导体无护套电缆","兆源","1×2.5","227 IEC 01(BV) 450/750V","2009-04-19","合格"]
[47,"永进电缆集团有限公司","铜芯聚氯乙烯绝缘软电缆","永进","1×2.5","BVR 450/750V","2009-03-18","合格"]
[48,"河北邢台电缆有限责任公司","一般用途单芯硬导体无护套电缆","腾达","1×4","227 IEC 01(BV) 450/750V","2009-04-08","合格"]
[49,"河北腾飞线缆有限公司","一般用途单芯硬导体无护套电缆","腾翔","1×2.5","227 IEC 01(BV) 450/750V","2008-12-05","合格"]
[50,"河北省保定海燕电线厂","一般用途单芯硬导体无护套电缆","眼镜蛇","1×2.5","227 IEC 01(BV) 450/750V","2009-04-19","合格"]
[51,"廊坊沈飞线缆有限公司","一般用途单芯硬导体无护套电缆",null,"1×4","227 IEC 01(BV) 450/750V","2009-04-16","合格"]
[52,"廊坊亚桑电线电缆有限公司","铝芯聚氯乙烯绝缘聚氯乙烯护套扁形电缆",null,"2×6","BLVVB 300/500V","2008-09-18","合格"]
[53,"廊坊柏康电线电缆有限公司","铜芯聚氯乙烯绝缘绞型连接用软电线",null,"2×0.5","RVS 300/300V","2009-02-27","合格"]
[54,"廊坊市京源电线电缆有限公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2008-12-07","合格"]
[55,"廊坊天虹富瑞线缆有限公司","一般用途单芯硬导体无护套电缆","狮王牌","1×1.5","227 IEC 01(BV) 450/750V","2008-08-08","合格"]
[56,"廊坊兴华线缆有限公司","一般用途单芯硬导体无护套电缆","兴华","1×2.5","227 IEC 01(BV) 450/750V","2009-02-17","合格"]
[57,"河北盛安线缆有限公司","一般用途单芯硬导体无护套电缆","盛安 ","1×4","227 IEC 01(BV) 450/750V","2009-04-13","合格"]
[58,"河北康利电缆股份有限公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-03-20","合格"]
[59,"亚龙线缆有限公司","一般用途单芯硬导体无护套电缆","天尊","1×2.5","227 IEC 01(BV) 450/750V","2009-03-15","合格"]
[60,"沧州海达特种电缆有限公司","一般用途单芯硬导体无护套电缆","沧达","1×2.5","227 IEC 01(BV) 450/750V","2009-03-17","合格"]
[61,"河北新华乾通线缆有限公司","一般用途单芯硬导体无护套电缆","乾通","1×2.5","227 IEC 01(BV) 450/750V","2009-03-01","合格"]
[62,"宝丰电缆有限公司","铜芯聚氯乙烯绝缘软电缆","沈志","1×6","BVR 450/750V","2008-12-25","合格"]
[63,"沧州华龙电线厂","一般用途单芯硬导体无护套电缆","冀牛","1×1.5","227 IEC 01(BV) 450/750V","2008-12-09","合格"]
[64,"沧州会友线缆股份有限公司 ","一般用途单芯硬导体无护套电缆","会友","1×2.5","227 IEC 01(BV) 450/750V","2008-07-06","合格"]
[65,"赤峰鑫祥电线电缆有限公司","一般用途单芯硬导体无护套电缆","金蟾","1×2.5","227 IEC 01(BV) 450/750V","2008-12-20","合格"]
[66,"九星控股集团通辽铜业有限公司","一般用途单芯硬导体无护套电缆","九星","1×2.5","227 IEC 01(BV) 450/750V","2009-04-01","合格"]
[67,"核工业兴城核兴公司电线厂 ","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-04-13","合格"]
[68,"辽宁宝林集团大连金州电缆有限公司","一般用途单芯硬导体无护套电缆","BAOLIN\n宝林\n","1×2.5","227 IEC 01(BV) 450/750V","2009-03-08","合格"]
[69,"大连白云山线缆有限公司","一般用途单芯硬导体无护套电缆","白云山\nBAIYUNSHAN","1×2.5","227 IEC 01(BV) 450/750V","2009-04-12","合格"]
[70,"大连德昌线缆有限公司","铜芯聚氯乙烯绝缘软电缆","TECHTRON","1×2.5","BVR 450/750V","JC03×××A090329","合格"]
[71,"营口特种电缆有限公司","一般用途单芯硬导体无护套电缆",null,"1×4","227 IEC 01(BV) 450/750V","2008-11-10","合格"]
[72,"营口富山线缆制造有限公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-04-15","合格"]
[73,"锦州前进电缆厂","一般用途单芯软导体无护套电缆","锦军","1×2.5","227 IEC 02(RV) 450/750V","2009-04-22","合格"]
[74,"沈阳天恒线缆有限公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-04-13","合格"]
[75,"长春市北方特种电线电缆厂","一般用途单芯硬导体无护套电缆","北特","1×2.5","227 IEC 01(BV) 450/750V","2009-04-01","合格"]
[76,"吉林省海达电缆制造有限公司","一般用途单芯硬导体无护套电缆","阔海","1×2.5","227 IEC 01(BV) 450/750V","2009-04-28","合格"]
[77,"吉林省通利特种电线电缆制造有限公司 ","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-04-18","合格"]
[78,"长春市南大电线电缆厂","一般用途单芯硬导体无护套电缆",null,"1×1.5","227 IEC 01(BV) 450/750V","2009-03-07","合格"]
[79,"哈尔滨市金桥电线电缆制造有限公司","一般用途单芯硬导体无护套电缆","金上桥","1×2.5","227 IEC 01(BV) 450/750V","2009-04-02","合格"]
[80,"哈尔滨跃龙电线电缆有限公司","内部布线用导体温度为70℃的单芯实心导体无护套电缆","日生牌","1×0.75","227 IEC 05(BV) 300/500V","2009-01-21","合格"]
[81,"哈尔滨昌泰电缆制造有限公司","一般用途单芯硬导体无护套电缆","昌泰\nCHANGTAI","1×1.5","227 IEC 01(BV) 450/750V","090415277","合格"]
[82,"哈尔滨海洋线缆制造有限责任公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2008-11-01","合格"]
[83,"上海苏民电线有限公司","内部布线用导体温度为70℃的单芯软导体无护套电缆","忠仁（ZR）","1×0.5","227 IEC 06（RV）300/500V","2009-04-02","合格"]
[84,"上海起帆电线电缆有限公司","一般用途单芯硬导体无护套电缆","起帆","1×2.5","227 IEC 01 （BV）450/750V ","2009-03-27","合格"]
[85,"上海南汇黄河电线电缆厂","内部布线用导体温度为70℃的单芯软导体无护套电缆","耀奇"," 1×0.75","227 IEC 06（RV）300/500V ","2009-03-30","合格"]
[86,"上海长盛电线电缆有限公司","轻型聚氯乙烯护套软线","长盛"," 2×0.5","227 IEC 52 （RVV）300/300V","2009-03","合格"]
[87,"上海华怡塑料电线厂","内部布线用导体温度为70℃的单芯软导体无护套电缆",null," 1×1","227 IEC 06（RV）300/500V","2009-04-10","合格"]
[88,"上海昌鑫特种电线电缆厂","铜芯聚氯乙烯绝缘聚氯乙烯护套安装用软电缆",null," 2×0.3","AVVR 300/300V","2008-07-14","合格"]
[89,"上海横沔特种电线电缆有限公司","一般用途单芯硬导体无护套电缆","未来"," 1×2.5","227 IEC 01 （BV）450/750V","2009-02","合格"]
[90,"上海周浦浦星塑料电线厂","一般用途单芯硬导体无护套电缆","浦星"," 1×2.5","227 IEC 01 （BV）450/750V","2009-03-10","合格"]
[91,"上海浦灵电线电缆厂","一般用途单芯硬导体无护套电缆","沙鸥"," 1×2.5","227 IEC 01 （BV）450/750V","2009-04-05","合格"]
[92,"上海营前电线电缆有限责任公司","铜芯聚氯乙烯绝缘聚氯乙烯护套扁型电缆","灵通"," 2×1.5","BVVB 300/500V","2009-03-10","合格"]
[93,"上海金灵电线电缆有限公司","一般用途单芯硬导体无护套电缆","久珍"," 1×1.5","227 IEC 01 （BV）450/750V","2009-02","合格"]
[94,"上海东升电线电缆厂","轻型聚氯乙烯护套软线",null," 3×0.5","227 IEC 52 （RVV）300/300V","2009-04","合格"]
[95,"上海康星电线电缆有限公司","轻型聚氯乙烯护套软线",null," 3×0.5","227 IEC 52 （RVV）300/300V","2008-12-20","合格"]
[96,"上海乐华电线电缆制造有限公司","内部布线用导体温度为70℃的单芯软导体无护套电缆",null,"1×1","227 IEC 06（RV）300/500V","2009-03-27","合格"]
[97,"上海申杰电缆有限公司","一般用途单芯硬导体无护套电缆",null," 1×1.5","227 IEC 01 （BV）450/750V","2009-04-10","合格"]
[98,"江苏上上电缆集团有限公司","一般用途单芯硬导体无护套电缆","上上","1×4","227 IEC 01 （BV）450/750V","2009-03","合格"]
[99,"江苏昌盛电缆有限公司","一般用途单芯硬导体无护套电缆","昌盛","1×1.5","227 IEC 01 （BV）450/750V","2009-04-10","合格"]
[100,"昆山周氏电业有限公司","普通聚氯乙烯护套软线","CHAU′S","2×0.75","227 IEC 53 （RVV） 300/500V ","2009-04-17","合格"]
[101,"昆山市双花电线电缆有限公司","一般用途单芯硬导体无护套电缆",null," 1×2.5","227 IEC 01 （BV）450/750V","2009-04-10","合格"]
[102,"扬州市邗江起点电器厂","铜芯聚氯乙烯绝缘、屏蔽、聚氯乙烯护套软电缆",null," 2×0.5","RVVP 300/300V","2009-04-03","合格"]
[103,"扬州时代电子有限公司","铜芯聚氯乙烯绝缘、屏蔽、聚氯乙烯护套软电缆","时"," 2×0.5","RVVP 300/300V","2009-04-12","合格"]
[104,"江苏海虹电子有限公司","轻型聚氯乙烯护套软线",null," 2×0.5","227 IEC 52 （RVV） 300/300V","2009-04-05","合格"]
[105,"江苏西贝电子网络有限公司","一般用途单芯硬导体无护套电缆","西贝"," 1×1.5","227 IEC 01 （BV）450/750V","2009-04-16","合格"]
[106,"欧南芭电子配件（昆山）有限公司","普通聚氯乙烯护套软线","OND"," 3×0.75","227 IEC 53 （RVV）300/500V ","2008-12-18","合格"]
[107,"无锡市明珠电缆有限公司","一般用途单芯硬导体无护套电缆","明珠"," 1×2.5","227 IEC 01 （BV）450/750V","2009-02-07","合格"]
[108,"无锡市安泰特种电缆有限公司","铜芯聚氯乙烯绝缘聚氯乙烯护套扁型电缆","全泰"," 2×1","BVVB 300/500V","2009-04-18","合格"]
[109,"无锡市宾王线缆有限公司","铜芯聚氯乙烯绝缘聚氯乙烯护套扁型电缆",null," 2×1","BVVB 300/500V","2009-02-23","合格"]
[110,"江苏东虹电缆有限公司","一般用途单芯硬导体无护套电缆",null," 1×1.5","227 IEC 01 （BV）450/750V","2009-04-05","合格"]
[111,"江苏新远程电缆有限公司","一般用途单芯硬导体无护套电缆","远程"," 1×2.5","227 IEC 01 （BV）450/750V","2008-04-28","合格"]
[112,"江苏金蝶线缆有限公司","一般用途单芯硬导体无护套电缆",null," 1×2.5","227 IEC 01 （BV）450/750V","2009-04-21","合格"]
[113,"江苏广汇电缆有限公司","一般用途单芯硬导体无护套电缆","广汇","1×2.5","227 IEC 01 （BV）450/750V","2009-03-06","合格"]
[114,"南京三星电缆厂","一般用途单芯硬导体无护套电缆","星利","1×2.5","227 IEC 01 （BV）450/750V","2009-04-14","合格"]
[115,"江苏三木电缆有限公司","铝芯聚氯乙烯绝缘电缆","都山村","1×2.5","BLV 450/750V ","2009-04-20","合格"]
[116,"无锡市腾达特种电缆有限公司","一般用途单芯硬导体无护套电缆","飞黄"," 1×1.5","227 IEC 01 （BV）450/750V","2009-04-10","合格"]
[117,"无锡市逸翔线缆有限公司","一般用途单芯硬导体无护套电缆",null," 1×4","227 IEC 01 （BV）450/750V","2009-03-07","合格"]
[118,"江苏中兴电缆有限公司","一般用途单芯硬导体无护套电缆","兴塔"," 1×2.5","227 IEC 01 （BV）450/750V","2009-03-16","合格"]
[119,"江苏顺通电缆有限公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01 （BV）450/750V","2009-03-10","合格"]
[120,"无锡市锦涛线缆有限公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01 （BV）450/750V","2009-04-20","合格"]
[121,"江苏馨晟特种电缆有限公司","一般用途单芯硬导体无护套电缆","祖庆"," 1×2.5","227 IEC 01 （BV）450/750V","2009-03-10","合格"]
[122,"无锡市天成线缆有限公司","一般用途单芯硬导体无护套电缆",null," 1×1.5","227 IEC 01 （BV）450/750V","2009-04-08","合格"]
[123,"江苏长峰电缆有限公司","一般用途单芯硬导体无护套电缆","长风"," 1×2.5","227 IEC 01 （BV）450/750V","2009-03-17","合格"]
[124,"江苏鑫峰电缆有限公司","一般用途单芯硬导体无护套电缆","金帆"," 1×16","227 IEC 01 （BV）450/750V","2009-04-21","合格"]
[125,"无锡市凌云电缆有限公司","一般用途单芯硬导体无护套电缆","凌霞"," 1×10","227 IEC 01 （BV）450/750V","2009-04-16","合格"]
[126,"浙江晨光电缆股份有限公司","一般用途单芯硬导体无护套电缆","晨光"," 1×1.5","227 IEC 01 （BV）450/750V","2009-03-20","合格"]
[127,"开开电缆科技有限公司","一般用途单芯硬导体无护套电缆","开开"," 1×2.5","227 IEC 01 （BV）450/750V","2009-04-03","合格"]
[128,"宁波东方电缆股份有限公司","一般用途单芯硬导体无护套电缆","RiENT"," 1×4","227 IEC 01 （BV）450/750V","2009-02-22","合格"]
[129,"浙江球冠集团有限公司","一般用途单芯硬导体无护套电缆","球冠"," 1×1.5","227 IEC 01 （BV）450/750V ","2009-02-06","合格"]
[130,"浙江元通线缆制造有限公司","一般用途单芯硬导体无护套电缆","元世通"," 1×2.5","227 IEC 01 （BV）450/750V","2009-03-23","合格"]
[131,"浙江新兴辐照交联电缆有限公司","一般用途单芯硬导体无护套电缆","振华"," 1×2.5","227 IEC 01 （BV）450/750V ","2009-02-13","合格"]
[132,"杭州第二电缆有限公司","铜芯聚氯乙烯绝缘软电缆","青春"," 1×2.5","BVR 450/750V","2009-01-21","合格"]
[133,"湖州龙鹰电线电缆有限公司","铜芯聚氯乙烯绝缘聚氯乙烯护套扁型电缆","龙鹰"," 2×1.5","BVVB 300/500V","2008-10","合格"]
[134,"湖州金腾电线电器有限公司","一般用途单芯硬导体无护套电缆","金腾"," 1×1.5","227 IEC 01 （BV）450/750V","2009-01","合格"]
[135,"德清武康升泰电线厂","一般用途单芯硬导体无护套电缆",null," 1×2.5","227 IEC 01 （BV）450/750V ","2009-01-05","合格"]
[136,"浙江万马电缆股份有限公司","一般用途单芯硬导体无护套电缆",null," 1×2.5","227 IEC 01 （BV）450/750V","2009-03-14","合格"]
[137,"杭州星桥电线电缆有限公司","一般用途单芯硬导体无护套电缆","环桥"," 1×1.5","227 IEC 01 （BV）450/750V","2008-11-12","合格"]
[138,"杭州天元电力电缆有限公司","一般用途单芯硬导体无护套电缆","天缘","1×2.5","227 IEC 01 （BV）450/750V ","2009-04","合格"]
[139,"安徽埃克森科技集团有限公司","铜芯聚氯乙烯绝缘、屏蔽、聚氯乙烯护套软电缆","——"," 3×1.0","RVVP300/300V ","2009-04-08","合格"]
[140,"安徽天康(集团)股份有限公司","一般用途单芯硬导体无护套电缆","洲鸽"," 1×1.5","227 IEC 01 （BV）450/750V","2009-04-02","合格"]
[141,"安徽皖缆集团电器有限公司","一般用途单芯硬导体无护套电缆","——"," 1×1.5","227 IEC 01 （BV）450/750V","2009-03-08","合格"]
[142,"安徽华菱电缆集团有限公司","一般用途单芯硬导体无护套电缆","欣菱","1×2.5","227 IEC 01 （BV）450/750V  ","2009-04-14","合格"]
[143,"安徽华宇电缆集团有限公司","一般用途单芯硬导体无护套电缆","新特华宇"," 1×2.5","227 IEC 01 （BV）450/750V ","2009-04-15","合格"]
[144,"安徽江淮电缆集团有限公司","一般用途单芯硬导体无护套电缆","江淮"," 1×4","227 IEC 01 （BV）450/750V ","2009-03-13","合格"]
[145,"安徽航天电缆集团有限公司","一般用途单芯硬导体无护套电缆","航阳","1×2.5","227 IEC 01 （BV）450/750V ","2009-02-20","合格"]
[146,"安徽新亚特电缆集团有限公司","一般用途单芯硬导体无护套电缆","亚峰"," 1×2.5","227 IEC 01 （BV）450/750V","2009-04-10","合格"]
[147,"安徽华星电缆集团有限公司","普通聚氯乙烯护套软线","中特华星"," 3×1","227 IEC 53 （RVV）300/500V ","2009-04-13","合格"]
[148,"安徽猎塔电缆集团有限公司","一般用途单芯硬导体无护套电缆","猎塔"," 1×6","227 IEC 01 （BV）450/750V","2009-04-13","合格"]
[149,"安徽环宇电缆集团有限公司","铜芯聚氯乙烯绝缘聚氯乙烯护套扁型电缆","鸿翔"," 2×1.5","BVVB 300/500V","2009-04-12","合格"]
[150,"安徽华电线缆集团有限公司","铜芯聚氯乙烯绝缘聚氯乙烯护套扁型电缆","鹏翔"," 2×1.5","BVVB 300/500V","2009-04-2","合格"]
[151,"安徽龙庵电缆集团有限公司","一般用途单芯硬导体无护套电缆","龙安"," 1×4","227 IEC 01 （BV） 450/750V","2009-04-14","合格"]
[152,"安徽新宇缆业集团有限公司","铜芯聚氯乙烯绝缘聚氯乙烯护套扁型电缆","鸿宇"," 2×4","BVVB 300/500V","2009-04-14","合格"]
[153,"南平市实达电线有限公司福州分公司","一般用途单芯硬导体无护套电缆",null," 1×4","227 IEC 01 （BV）450/750V","2009-03-27","合格"]
[154,"福州永通电线电缆有限公司","一般用途单芯硬导体无护套电缆","辉阳"," 1×1.5","227 IEC 01 （BV）450/750V ","2009-04-05","合格"]
[155,"九江匡庐电线电缆有限公司","一般用途单芯硬导体无护套电缆","匡庐"," 1×2.5","227 IEC 01 （BV）450/750V ","2008-11-07","合格"]
[156,"九江市电力线缆厂","一般用途单芯硬导体无护套电缆","庐峰"," 1×2.5","227 IEC 01 （BV）450/750V ","2009-04","合格"]
[157,"九江电线电缆厂","一般用途单芯硬导体无护套电缆","庐山"," 1×2.5","227 IEC 01 （BV）450/750V ","2009-04-16","合格"]
[158,"南昌市赣江电缆厂","铜芯聚氯乙烯绝缘软电缆","昌虹"," 1×2.5","BVR 450/750V","2009-03-20","合格"]
[159,"江西沪昌电缆有限公司","铜芯聚氯乙烯绝缘聚氯乙烯护套扁型电缆","滕阁"," 2×1.5","BVVB 300/500V","2009-04","合格"]
[160,"江西美园电缆有限公司","一般用途单芯硬导体无护套电缆","美园"," 1×2.5","227 IEC 01 （BV）450/750V","2009-02-23","合格"]
[161,"南昌新华电缆有限公司","一般用途单芯硬导体无护套电缆","红谷"," 1×2.5","227 IEC 01 （BV）450/750V","2009-04-23","合格"]
[162,"南昌市第二电线有限责任公司","内部布线用导体温度为70℃的单芯软导体无护套电缆","赣洪"," 1×0.5","227 IEC 06（RV）300/500V","2009-03-09","合格"]
[163,"南昌电缆有限责任公司","一般用途单芯硬导体无护套电缆","赣昌"," 1×2.5","227 IEC 01 （BV）450/750V","2009-04-18","合格"]
[164,"南昌洪都电线电缆厂","一般用途单芯硬导体无护套电缆","洪都"," 1×1.5","227 IEC 01 （BV）450/750V","2009-04-21","合格"]
[165,"江西太平洋电缆有限公司","一般用途单芯硬导体无护套电缆","国镖"," 1×2.5","227 IEC 01 （BV）450/750V","2009-03-20","合格"]
[166,"新泰市泰山电力线缆厂","铜芯聚氯乙烯绝缘绞型连接用软电线","华泰"," 2×0.5","RVS 300/300V","2009-01","合格"]
[167,"特变电工山东鲁能泰山电缆有限公司","一般用途单芯硬导体无护套电缆","泰山牌"," 1×4","227 IEC 01 （BV）450/750V","2009-03-13","合格"]
[168,"青岛理研电线电缆有限公司","内部布线用导体温度为70℃的单芯软导体无护套电缆",null," 1×0.75","227 IEC 06（ RV）300/500V","2009-02-20","合格"]
[169,"青岛胶州电缆有限公司","一般用途单芯硬导体无护套电缆","华青"," 1×2.5","227 IEC 01 （BV）450/750V","2009-01-09","合格"]
[170,"山东国源电缆电器有限公司","扁形无护套软线","国源"," 2×0.5","227 IEC 42（RVB）300/300V","2009-02-08","合格"]
[171,"山东阳谷力缆厂","一般用途单芯硬导体无护套电缆","绿灯行"," 1×4","227 IEC 01 （BV）450/750V","2009-04-06","合格"]
[172,"山东阳谷特种电缆有限公司","一般用途单芯硬导体无护套电缆","昌辉"," 1×2.5","227 IEC 01 （BV）450/750V","2009-04-02","合格"]
[173,"山东阳谷中信电缆有限公司","一般用途单芯硬导体无护套电缆","中信"," 1×1.5","227 IEC 01 （BV）450/750V","2009-03-16","合格"]
[174,"淄博长城电缆制造有限公司","一般用途单芯硬导体无护套电缆","慧伟"," 1×4","227 IEC 01 （BV）450/750V","2009-02-28","合格"]
[175,"青岛华光电缆有限公司","一般用途单芯硬导体无护套电缆","豪迈"," 1×2.5","227 IEC 01 （BV）450/750V","2009-03-13","合格"]
[176,"青岛青缆科技有限责任公司","一般用途单芯硬导体无护套电缆","青凯"," 1×2.5","227 IEC 01 （BV）450/750V","2009-02-03","合格"]
[177,"龙口市东海电线电缆厂","一般用途单芯硬导体无护套电缆",null," 1×2.5","227 IEC 01 （BV）450/750V","2009-01-04","合格"]
[178,"山东阳谷曙光电缆厂","一般用途单芯硬导体无护套电缆","彤辉"," 1×6","227 IEC 01 （BV）450/750V","2009-04-02","合格"]
[179,"山东阳谷电缆集团有限公司","一般用途单芯硬导体无护套电缆","日辉"," 1×2.5","227 IEC 01 （BV）450/750V","2009-01-12","合格"]
[180,"山东阳谷齐鲁电缆有限公司","一般用途单芯硬导体无护套电缆","翔宇"," 1×4","227 IEC 01 （BV）450/750V","2009-03-25","合格"]
[181,"郑州塑力电缆有限公司橡缆分公司 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","BVR 450/750V ",2008,"合格"]
[182,"郑州大中原线缆有限责任公司 ","聚氯乙烯绝缘电缆电线","訾王","1×2.5","227IEC01(BV) 450/750V ","2009-04-19","合格"]
[183,"郑州合声电缆有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","227IEC01(BV) 450/750V ","2008-12-17","合格"]
[184,"郑州银鸽电线电缆有限公司 ","聚氯乙烯绝缘电缆电线","银鸽","1×2.5","227IEC01(BV) 450/750V ","2009-04","合格"]
[185,"郑州中南电缆有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","227IEC01(BV) 450/750V ","2009-03-30","合格"]
[186,"郑州市荣耀电线电缆厂 ","聚氯乙烯绝缘电缆电线",null,"2×2.5","BLVVB 300/500V ",null,"合格"]
[187,"洛阳市春宾电线电缆有限公司","聚氯乙烯绝缘电缆电线",null,"1×1.5","227IEC01(BV) 450/750V ","2009-03-31","合格"]
[188,"郑州市正大电线电缆有限公司","聚氯乙烯绝缘电缆电线",null,"1×4","227IEC01(BV) 450/750V ","2009","合格"]
[189,"河南新星电缆有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×1.5","227IEC01(BV) 450/750V ","0811","合格"]
[190,"郑州市新宇电线电缆有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×1.5","227IEC01(BV) 450/750V ","2009-04-12","合格"]
[191,"郑州一方电气有限公司 ","聚氯乙烯绝缘电缆电线","一方","1×2.5","227IEC01(BV) 450/750V ","2008-12-30","合格"]
[192,"河南人民电缆有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","227IEC01(BV) 450/750V ","2009-04-10","合格"]
[193,"郑州市讯达电线电缆有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×1.5","227IEC01(BV) 450/750V ","2009-03-29","合格"]
[194,"上海悦声电线电缆有限公司偃师分公司 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","227IEC01(BV) 450/750V ","2009-03-30","合格"]
[195,"郑州市鸿通电线厂 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","227IEC01(BV) 450/750V ",null,"合格"]
[196,"郑州市恒泰电材有限责任公司","聚氯乙烯绝缘电缆电线",null,"1×2.5","227IEC01(BV) 450/750V ","2009-04-15","合格"]
[197,"郑州市东领电子电缆厂 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","227IEC01(BV) 450/750V ","2009-03","合格"]
[198,"郑州宇晨电缆电线有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×4","BVR 450/750V ","2009-04-16","合格"]
[199,"洛阳市河图实业有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","BLV-450/750V ",null,"合格"]
[200,"武汉永佳电线电缆有限公司偃师分公司 ","聚氯乙烯绝缘电缆电线","颖佳","2×4","BLVVB -300/500V ","2009-04-12","合格"]
[201,"湖北华特红旗电缆有限公司 ","聚氯乙烯绝缘电缆电线","华特","1×2.5","BVR 450/750V ","B09040489","合格"]
[202,"黄石昌达线缆有限公司 ","聚氯乙烯绝缘电缆电线",null," 1×2.5","227IEC01(BV) 450/750V","2009-04-20","合格"]
[203,"湖北航天电缆有限公司 ","聚氯乙烯绝缘电缆电线","双峰","1×4","227IEC01(BV) 450/750V ","2009-03-05","合格"]
[204,"枝江市三峡电线电缆厂 ","聚氯乙烯绝缘电缆电线","奔驰","1×10","BLV -450/750V ","2009-04-17","合格"]
[205,"宜昌市红旗汉江电缆有限公司","聚氯乙烯绝缘电缆电线",null,"1×2.5","BVR -450/750V ","2009-04-05","合格"]
[206,"宜昌市长城电线厂","聚氯乙烯绝缘电缆电线",null,"1×2.5","227IEC01(BV) -450/750V ","2008-12-06","合格"]
[207,"长江高科电缆有限公司 ","聚氯乙烯绝缘电缆电线","塔丰","1×1.5","227IEC01(BV) -450/750V ","2009-04-17","合格"]
[208,"十堰市勤达工贸有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×1.5","227IEC01(BV) 450/750V","2008-04-11","合格"]
[209,"武汉市汉阳区泰利斯电线厂","聚氯乙烯绝缘电缆电线","泰利斯"," 1×2.5","227IEC01(BV) 450/750V","2009-03-01","合格"]
[210,"武汉市东风塑料电线厂","聚氯乙烯绝缘电缆电线",null,"1×1.5","227IEC01(BV) 450/750V ","2009-01-20","合格"]
[211,"武汉市新星电线电缆有限责任公司","聚氯乙烯绝缘电缆电线","福吉星","1×2.5","227IEC01(BV) 450/750V ","2009-04-13","合格"]
[212,"武汉星火电线电缆有限公司","聚氯乙烯绝缘电缆电线",null,"1×1.5","227IEC01(BV) 450/750V ","2009-02-23","合格"]
[213,"武汉市江华电线电缆有限责任公司","聚氯乙烯绝缘电缆电线",null,"1×4","BLV 450/750V","2009-04-28","合格"]
[214,"湖北恒泰电线电缆有限公司","聚氯乙烯绝缘电缆电线","乾亨","2×4","BVVB 300/500V ","2008-10-22","合格"]
[215,"武汉武湖电缆有限公司","聚氯乙烯绝缘电缆电线",null," 1×1.5","227IEC01(BV) 450/750V","2008-03-21","合格"]
[216,"武汉市钢发线缆电器有限责任公司","聚氯乙烯绝缘电缆电线",null,"1×2.5","227IEC01(BV) 450/750V ","090423","合格"]
[217,"武汉雅阁电缆有限公司","聚氯乙烯绝缘电缆电线","邦吉","1×2.5","227IEC01(BV) 450/750V ","2009-02-21","合格"]
[218,"武汉振鹏电线电缆有限公司","聚氯乙烯绝缘电缆电线","振鹏","1×2.5","227IEC01(BV) 450/750V ","2009-04-03","合格"]
[219,"武汉宏联电线电缆有限公司","聚氯乙烯绝缘电缆电线","宏联","1×1.5","BVR 450/750V ","2009-02-21","合格"]
[220,"武汉市汉阳区德诺电线厂","聚氯乙烯绝缘电缆电线","德诺","2×1.5","BVVB 300/500V ","2009-03-01","合格"]
[221,"京广线缆集团有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","227IEC01(BV) 450/750V ","2009-04-14","合格"]
[222,"衡阳市通宝电线电缆有限公司 ","聚氯乙烯绝缘电缆电线","小燕子","1×1.5","227IEC01(BV) 450/750V ","2009-04-16","合格"]
[223,"湖南华力通电器制造有限责任公司","聚氯乙烯绝缘电缆电线",null,"2×2.5","BVVB 300/500V ","2009-03-10","合格"]
[224,"湘潭市电线电缆有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×1.5","227IEC01(BV) 450/750V ","2009-04-10","合格"]
[225,"湘电集团有限公司电线电缆分公司 ","聚氯乙烯绝缘电缆电线",null,"1×1.5","227IEC01(BV) 450/750V ","2009-04-16","合格"]
[226,"湖南华菱线缆股份有限公司 ","聚氯乙烯绝缘电缆电线","金凤","1×4","227IEC 01(BV) 450/750V ","2009-04-12","合格"]
[227,"衡阳恒飞电缆有限责任公司 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","227IEC 01(BV) 450/750V ","090416","合格"]
[228,"衡阳市雁峰恒杯电线电缆厂 ","聚氯乙烯绝缘电缆电线",null,"1×1.5","227IEC01(BV) 450/750V ","2008-10-01","合格"]
[229,"衡阳市塑料电线电缆厂 ","聚氯乙烯绝缘电缆电线","金永"," 2×1.5","BVVB 300/500V","2009-03-15","合格"]
[230,"湖南金杯电缆有限公司 ","聚氯乙烯绝缘电缆电线","金杯","1×2.5","227IEC01(BV) 450/750V ","2009-04-15","合格"]
[231,"长沙花兴电线电缆厂 ","聚氯乙烯绝缘电缆电线","粤湘"," 1×2.5","227IEC01(BV) 450/750V","2009-04-15","合格"]
[232,"湖南西湖电线电缆有限公司 ","聚氯乙烯绝缘电缆电线",null," 1×2.5","227IEC01(BV) 450/750V","2009-03-24","合格"]
[233,"湘潭通达电工发展有限公司 ","聚氯乙烯绝缘电缆电线",null," 3×1.5","227IEC53(RVV) 300/500V","2009-04","合格"]
[234,"广西顺业线缆有限公司 ","聚氯乙烯绝缘电缆电线","顺帆","1×2.5","227IEC01(BV) 450/750V ","2009-04-17","合格"]
[235,"广西松发线缆有限公司 ","聚氯乙烯绝缘电缆电线","松发","1×2.5","BLV 450/750V ","2009-03-19","合格"]
[236,"广西阳工电线电缆有限公司  ","聚氯乙烯绝缘电缆电线","阳工","1×2.5","227IEC01(BV) 450/750V ","2009-04-15","合格"]
[237,"南宁银杉电线电缆有限责任公司 ","聚氯乙烯绝缘电缆电线","银杉","1×2.5","227IEC01(BV) 450/750V ","2009-02-24","合格"]
[238,"南宁德力电线电缆厂 ","聚氯乙烯绝缘电缆电线","德力"," 1×2.5","227IEC01(BV) 450/750V","2009-02-24","合格"]
[239,"南宁市南昌电缆有限责任公司 ","聚氯乙烯绝缘电缆电线","南慧","1×4","227IEC01(BV) 450/750V ","2009-04-16","合格"]
[240,"南宁市家友电线电缆厂 ","聚氯乙烯绝缘电缆电线","家友"," 1×2.5","227IEC01(BV) 450/750V","2009-04-17","合格"]
[241,"广西纵览线缆有限责任公司 ","聚氯乙烯绝缘电缆电线","纵览","1×2.5","227IEC01(BV) 450/750V ","2009-02-27","合格"]
[242,"四川川东电缆有限责任公司 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","BVR -450/750V ","2009-04-10","合格"]
[243,"成都利康线缆有限公司 ","聚氯乙烯绝缘电缆电线","利康","1×2.5","227IEC01(BV) 450/750V ","2009-03-09","合格"]
[244,"四川鑫南方高压电缆有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","227IEC01(BV) -450/750V ","2009-04-17","合格"]
[245,"四川正方高压线缆有限公司 ","聚氯乙烯绝缘电缆电线",null," 1×2.5","227IEC01(BV) -450/750V","2009-04-19","合格"]
[246,"成都成电电缆制造有限公司 ","聚氯乙烯绝缘电缆电线",null," 1×1.5","227IEC01(BV) -450/750V","2009-04-12","合格"]
[247,"四川成塑电缆有限公司 ","聚氯乙烯绝缘电缆电线","(成塑)CHENGSU","1×1.5","227IEC02(RV) 450/750V ","2009-04-15","合格"]
[248,"成都鑫成鹏实业有限公司 ","聚氯乙烯绝缘电缆电线","金标"," 1×2.5","227IEC01(BV) 450/750V","2008-10-06","合格"]
[249,"成都营门电缆有限责任公司 ","聚氯乙烯绝缘电缆电线","光荣花"," 2×0.75","227IEC52(RVV) 300/300V","2009-03-07","合格"]
[250,"成都德源线缆有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","227IEC01(BV) -450/750V ","2009-04-15","合格"]
[251,"四川新星电缆股份有限公司  ","聚氯乙烯绝缘电缆电线","新星","1×4","BLV 450/750V ","2009-03-21","合格"]
[252,"德阳市旌东电缆厂 ","聚氯乙烯绝缘电缆电线","旌东","1×2.5","BVR 450/750V ","2009-04-20","合格"]
[253,"贵阳兴杭电线厂","聚氯乙烯绝缘电缆电线","黔灵","1×2.5","227IEC01(BV) 450/750V ","2009-03-22","合格"]
[254,"贵阳乌当明泰电线电缆厂","聚氯乙烯绝缘电缆电线","明泰","1×4","BLV 450/750V ","2009-03-04","合格"]
[255,"贵州高新德辉电线电缆厂","聚氯乙烯绝缘电缆电线","贵辉","1×2.5","227IEC01(BV) 450/750V ","2009-02-16","合格"]
[256,"贵阳天鹰电线电缆厂","聚氯乙烯绝缘电缆电线","贵鹰","1×4","227IEC01(BV) 450/750V ","2009-04-17","合格"]
[257,"贵州星天电线电缆有限公司 ","聚氯乙烯绝缘电缆电线","昊龙"," 1×2.5","227IEC01(BV) 450/750V","2009-03-21","合格"]
[258,"贵阳电线厂有限公司","聚氯乙烯绝缘电缆电线","玉蝶","1×1.5","227IEC01(BV) 450/750V ","2009-04-19","合格"]
[259,"昆明电缆股份有限公司 ","聚氯乙烯绝缘电缆电线","昆电工","1×1.5","227IEC01(BV) 450/750V ","2009-01","合格"]
[260,"昆明市官渡区红星电线厂 ","聚氯乙烯绝缘电缆电线","红星","1×2.5","BVR 450/750V ","2009-04-10","合格"]
[261,"昆明海天电线电缆有限公司 ","聚氯乙烯绝缘电缆电线","海天龙","1×2.5","BVR 450/750V ","2009-04-12","合格"]
[262,"昆明市双环电力电缆有限公司","聚氯乙烯绝缘电缆电线","三环","1×2.5","BVR 450/750V ","2009-04-15","合格"]
[263,"昆明多宝电缆有限公司 ","聚氯乙烯绝缘电缆电线","多宝","1×2.5","BLV 450/750V ","2009-04-15","合格"]
[264,"云南正晓电缆有限公司 ","聚氯乙烯绝缘电缆电线","正晓","1×10","BLV 450/750V ","2009-04-05","合格"]
[265,"云南巨力线缆制造有限公司 ","聚氯乙烯绝缘电缆电线","野力"," 1×2.5","227IEC01(BV) 450/750V","2009-03-16","合格"]
[266,"云南西泰电线电缆有限公司昆明电线一厂 ","聚氯乙烯绝缘电缆电线","云泰","1×4","227IEC01(BV) 450/750V ","2008-10-15","合格"]
[267,"西安长丰电线电缆厂","一般用途单芯硬导体无护套电缆","YY","1×2.5","227 IEC 01(BV) 450/750V","2009-02-23","合格"]
[268,"陕西电力电缆厂","一般用途单芯硬导体无护套电缆","亮丽线缆","1×1.5","227 IEC 01(BV) 450/750V","2009-04-12","合格"]
[269,"陕西秦力电力电缆制造有限公司","一般用途单芯硬导体无护套电缆","秦力","1×2.5","227 IEC 01(BV) 450/750V","2009-03-16","合格"]
[270,"陕西西北飞航电线电缆有限公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-03-14","合格"]
[271,"西安市汇通电线电缆有限公司","一般用途单芯硬导体无护套电缆",null,"1×4","227 IEC 01(BV) 450/750V","2009-04-12","合格"]
[272,"西安鑫达特塑线缆有限责任公司","一般用途单芯硬导体无护套电缆","纪鑫德","1×2.5","227 IEC 01(BV) 450/750V","2009-04-09","合格"]
[273,"陕西创新线缆有限公司","铜芯聚氯乙烯绝缘软电缆",null,"1×2.5","BVR 450/750V","2008-08-05","合格"]
[274,"西安双盛电线电缆有限责任公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-04-22","合格"]
[275,"西安一舟线缆有限公司","普通聚氯乙烯护套软线","SHIP","2×1","227 IEC 53(RVV) 300/500V","2009-04-22","合格"]
[276,"西安西电光电缆有限责任公司","一般用途单芯硬导体无护套电缆","XD","1×2.5","227 IEC 01(BV) 450/750V","2009-04-21","合格"]
[277,"廊坊盛华线缆有限公司","一般用途单芯硬导体无护套电缆","辉源","1×2.5","227 IEC 01(BV) 450/750V","2009-04-16","不合格","产品表示方法"]
[278,"霸州市亚峰电线电缆有限公司","一般用途单芯硬导体无护套电缆","拓新","1×2.5","227 IEC 01(BV) 450/750V","2009-04-10","不合格","标志内容；导体电阻(20℃)；绝缘老化前后物理机械性能；绝缘失重试验"]
[279,"北京红光伟业线缆有限公司霸州分公司","一般用途单芯硬导体无护套电缆","宏昌","1×2.5","227 IEC 01(BV) 450/750V","2009-04-01","不合格","产品表示方法"]
[280,"沈阳沈缆银环电线电缆制造有限公司","一般用途单芯硬导体无护套电缆",null,"1×4","227 IEC 01(BV) 450/750V","2009-03-20","不合格","产品表示方法；导体电阻(20℃)；绝缘老化前后物理机械性能"]
[281,"沈阳铜塑力电线电缆有限公司于洪分公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-04-28","不合格","绝缘老化前后物理机械性能"]
[282,"长春市通用电线电缆厂","一般用途单芯硬导体无护套电缆",null,"1×1.5","227 IEC 01(BV) 450/750V","2008-08-27","不合格","标志内容"]
[283,"哈尔滨光宇电线电缆有限公司","一般用途单芯硬导体无护套电缆","COSLIGHT","1×1.5","227 IEC 01(BV) 450/750V","2009-04-10","不合格","产品表示方法"]
[284,"哈尔滨市鑫盛线缆制造有限公司","一般用途单芯硬导体无护套电缆",null,"1×2.5","227 IEC 01(BV) 450/750V","2009-03-01","不合格","产品表示方法"]
[285,"安徽天彩仪表电缆有限公司","一般用途单芯硬导体无护套电缆",null," 1×1.5","227 IEC 01 （BV）450/750V","2009-03-04","不合格","绝缘老化前后物理机械性能"]
[286,"九江恒大电线电缆厂","铜芯聚氯乙烯绝缘聚氯乙烯护套扁型电缆",null," 2×1.5","BVVB 300/500V","2009-01-17","不合格","导体电阻(20℃)；绝缘老化前后物理机械性能"]
[287,"河南鑫海电缆有限公司","聚氯乙烯绝缘电缆电线",null," 1×2.5","227IEC01(BV) 450/750V","2009-04","不合格","导体电阻(20℃)；绝缘老化前后物理机械性能"]
[288,"郑州鸿达电缆有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×1.5","227IEC01(BV) 450/750V ",null,"不合格","绝缘老化前后物理机械性能"]
[289,"郑州富裕达阻燃线缆厂 ","聚氯乙烯绝缘电缆电线",null,"2×2.5","BLVVB 300/500V ","2009-02-01","不合格","绝缘结构尺寸；标志内容"]
[290,"上海沪光电线电缆厂六分厂","聚氯乙烯绝缘电缆电线",null,"1×2.5","BVR 450/750V ","2009-04-05","不合格","导体电阻(20℃)"]
[291,"河南省三恒实业有限公司 ","聚氯乙烯绝缘电缆电线",null,"1×4","BLV-450/750V ","2008-07","不合格","标志内容"]
[292,"黄石市山峰铜材电缆有限公司 ","聚氯乙烯绝缘电缆电线",null," 1×1.5","227IEC01(BV) 450/750V","2009-04-16","不合格","导体电阻(20℃)"]
[293,"柳州市裕荣电器电线厂 ","聚氯乙烯绝缘电缆电线","裕光牌","1×2.5","BLV 450/750V ","2009-01-18","不合格","绝缘老化前后物理机械性能"]
[294,"成都蜀源电线电缆有限责任公司 ","聚氯乙烯绝缘电缆电线","蜀州"," 2×0.5","227IEC52(RVV) 300/300V","2009-04-02","不合格","不延燃试验"]
[295,"贵阳乌当黔辉电线胶管厂","聚氯乙烯绝缘电缆电线","黔辉","1×2.5","227IEC01(BV) 450/750V ","2009-04-17","不合格","标志内容；导体电阻（20℃）；绝缘老化前后物理机械性能"]
[296,"贵阳乌当兴隆电线电缆厂 ","聚氯乙烯绝缘电缆电线","汉云","1×2.5","BLV 450/750V ","2009-04-21","不合格","导体电阻（20℃）"]
[297,"贵阳白云金雕电线厂","聚氯乙烯绝缘电缆电线","银燕","1×1.5","227IEC01(BV) 450/750V ","2009-03-12","不合格","导体电阻(20℃)；绝缘老化前后物理机械性能"]
[298,"贵阳东升线缆有限公司 ","聚氯乙烯绝缘电缆电线","东升","1×6","BLV 450/750V ","2009-03-28","不合格","导体电阻(20℃)；绝缘老化前后物理机械性能"]
[299,"昆明山茶花电线四厂 ","聚氯乙烯绝缘电缆电线","山茶花","1×4","BVR 450/750V ","2009-04-13","不合格","导体电阻(20℃)；绝缘老化前后物理机械性能"]
[300,"昆明兰大圆电线五厂 ","聚氯乙烯绝缘电缆电线",null,"1×2.5","BVR 450/750V ","2009-04-12","不合格","绝缘电阻(70℃)"]
[null,"注：按行政区域排序。"]